## Slide 1
Acoustic Pitfalls of Impedance Tube Measurements
T. Graf
Lucerne University of Applied Sciences
Technikumstrasse 21
CH-6048 Horw
Switzerland

## Slide 2: Impedance tube
Sample
Loudspeaker in the background
Microphones
Mic lever
Mic lever
Speaker

## Slide 3: Sample preparation
Seal
Sample spacer
19 mm
Gap
0.5 mm

## Slide 4: Measuring principles, loss factor
It is possible to calculate of a diffuse sound pressure field from (see Ingard)!
Normal incidence:
Source
Source

## Slide 5: Numerical Setup, Mesh
Narrow gap
Gap
Mesh of narrow gap
Thermo- viscous domain
Front & top wall: symmetry BC
Bottom & back wall: sound hard BC

## Slide 6: Velocity in 5mm board
197 Hz
175 Hz
145 Hz
225 Hz
v (m/s)
0.1
0
0.16
0.04
vRMS
vinst
1.0
mm
0.7
mm
0.5
mm
0.3
mm
175 Hz
0.5 mm

## Slide 7: Beta of 5mm board
0.3 mm
0.5 mm
0.7 mm
1.0 mm
2.0 mm
Circles: Thermoviscous Domain
Lines: Narrow Region Domain
Dashed lines: Compact model
The colors and the numbers indicate different gap widths

## Slide 8: Wave propagation, 5mm board
0.5 mm
100 Hz, propagation plus standing wave ("hopping")
175 Hz, fully propagating wave, no reflection
400 Hz, standing wave ("pumping"), almost no propagation
Gap
Source
plane
0°
90°
180°

## Slide 9: Wave propagation, 5mm board
0.5 mm
100 Hz, "loudness" partially trapped in cavity
175 Hz, sound intensity completely trapped in cavity
400 Hz, hardly any loudness in cavity
Gap
Source
plane
SPL (dB)

## Slide 10: Velocity in 19mm board
146 Hz
130 Hz
116 Hz
175 Hz
v (m/s)
0.05
0
0.1
1.5
mm
1.0
mm
0.8
mm
0.6
mm
130 Hz
0.8 mm
vRMS
19 mm
vinst

## Slide 11: Beta of 19mm board
0.5 mm
0.6 mm
0.8 mm
1.0 mm
1.5 mm
Gap
Seal
19 mm
Circles: Thermoviscous Domain
Lines: Narrow Region Domain
Dashed lines: Compact model
Black symbols: Experiments
The colors and the numbers indicate different gap widths

## Slide 12: Gap impedance, transfer matrix
(II)
(1)
(2)
(3)
Interior impedance
Wall impedance
Sample impedance
Gap impedance
(I)
(III)
(IV)
Parabolic profile
Areal mass density, Maa
Airy's equations
Air:
Porosity
Loss factor
Maa, 87
Fit

## Slide 13: Compact model, 19mm, 0.6mm

## Slide 14: Compact model, 19mm, 0.8mm

## Slide 15: Compact model, 19mm, 1.0mm

## Slide 16: Summary
A rigid plate surrounded by an air gap in an impedance tube behaves like a slit absorber
Experimental results can be reproduced precisely with FEM, utilizing either thermoviscous models or so-called Narrow Region acoustics
The experimental and the numerical absorption curves can be emulated with a spreadsheet calculation
For reliable impedance tube measurements it is necessary to seal the sample edges against the tube wall