## Slide 1: Electro-Thermal analysis of a microheater for aerosol generation application
Mohammadreza Saberi Laboratory for the Design of Microsystems Department of Microsystems Engineering - IMTEK University of Freiburg, Germany

## Slide 2: Introduction
  Microheater to generate arousal [1,2]
  E-cigarettes [3]
  Drug delivery devices with precise dosage
Goals
  Temperature distribution
  Amount of vapor production
  Heat loss calculation
[1] J. Pourchez, et al, Assessment of new-generation high-power electronic nicotine delivery system as thermal aerosol generation device for inhaled bronchodilators,(2017)
[2] A.R. Bhashyam, et al., Aerosol delivery through nasal cannulas: an in vitro study
[3] F. Goldschmidtboeing, et al, Heater for Controlled Evaporation of Liquids for Personalized Drug Delivery to the Lungs

## Slide 3: Numerical model
  Modules
  Heat Transfer (HT)
  Laminar Flow (LF)
  Electrical Current (EC)
  Events (EV) [4]
Multiphysics
  Electromagnetic Heating (Joule heating)
  Nonisothermal Flow
PCB
Epoxy glue
Heater
Wicking material
[4] Solving Models with Pulsed Loads in Time - Knowledge Base,, https://www.comsol.com/support/knowledgebase/1245.

## Slide 4: Mesh and governing equations
  Mesh
  Custom mesh
  Prism and hexahedrons
  Created with mesh sweep feature
  Equations
  Time transient 3D Cartesian heat transfer
  Phase change
  Electrical current
  Laminar flow in porous media
  All equations from software documentation
  COMSOL discretizes them over them geometry.

## Slide 5: Boundary conditions and initial values
  Boundary condition
  PCB temperature, convection to air
  Controlled voltage terminals
  Liquid inlet and outlet with hydraulic pressure
Initial values
  Zero velocity on fluid domain
  Ambient temperature all over the domain
  Steady step study before transient step
Ambient temperature on PCB edges
Convection to air on top surfaces
Liquid inlet and outlet
Electrical terminals

## Slide 6: Simulation results and discussion
  temperature distribution
  amount of vapor production
  heat loss calculation
notes
  temperature on silicon and gold wire bonds
    below the melting point
  FR4 composite of PCB and epoxy glue
    temperature above their limits
Temperature at t=3s.
Maximum temperature on components

## Slide 7: Simulation results and discussion
  temperature distribution
  amount of vapor production
  heat loss calculation
notes
  0.65 mg vapor at the end of 3 seconds
    at switching temperature of 270°C

## Slide 8: Simulation results and discussion
  temperature distribution
  amount of vapor production
  heat loss calculation
notes
  Biggest power losses
    wick material and epoxy glue
  Negligible power loss through
    wire bonds and convection to air
  Energy conservation

## Slide 9: Thank you for your attention
References
[1] J. Pourchez, F. de Oliveira, S. Perinel-Ragey, T. Basset, J.-M. Vergnon, N. Prévôt, Assessment of new-generation high-power electronic nicotine delivery system as thermal aerosol generation device for inhaled bronchodilators, International journal of pharmaceutics 518 (2017) 264–269.
[2] A.R. Bhashyam, M.T. Wolf, A.L. Marcinkowski, A. Saville, K. Thomas, J.A. Carcillo et al., Aerosol delivery through nasal cannulas: an in vitro study, Journal of aerosol medicine and pulmonary drug delivery 21 (2008) 181–188.
[3] F. Goldschmidtboeing, U. Pelz, M. Ghanam, T. Bilger, A. Jamali, M. Saberi et al., Heater for Controlled Evaporation of Liquids for Personalized Drug Delivery to the Lungs, J. Microelectromech. Syst. (2020) 1–6.
[4] Solving Models with Pulsed Loads in Time - Knowledge Base, [October 10, 2019], https://www.comsol.com/support/knowledgebase/1245.