## Slide 1
REFERENCES:
Bruus, Henrik., Acoustofluidics 7: The acoustic radiation force on small particles, Lab on a Chip 12.6: 1014-1021.
Grinenko, Alon., https://www.comsol.com/blogs/how-to-compute-the-acoustic-radiation-force/
Sapozhnikov, Oleg A., et al., Radiation force of an arbitrary acoustic beam on an elastic sphere in a fluid, The Journal of the Acoustical Society of America 133.2: 661-676.
Figure 1. Title of the figure
Acoustic Manipulation Capabilities of a Multifrequency Aluminium Nitride based PMUT
B. Weekers1,2, M. Billen1, V. Rochus1, X. Rottenberg1, L. Lagae1,2
1. Imec, Leuven, Belgium
2.Department of Physics and Astronomy, KU Leuven, Leuven, Belgium
Excerpt from the Proceedings of the 2020 COMSOL Conference
Acoustic manipulation of microscopic objects is an attractive solution for a variety of applications due to its versatility and excellent biocompatibility. Piezoelectric micromachined ultrasound transducers (PMUTs) form interesting candidates to provide selective and dynamic manipulation capabilities.
This work explores the acoustic manipulation capabilities of a single PMUT operated at different vibrational modes.
1. INTRODUCTION
Figure 1. Schematic depiction of a PMUT trapping a particle
The acoustic radiation force is expressed through the solution of a linear problem by employing perturbation :
This perturbation method is implemented in COMSOL , thereby assuming an inviscid fluid and neglecting body forces. A frequency domain study is performed to compute radiation forces on a polystyrene sphere in water with diameter . Simulations couple the solid mechanics, electrostatics and pressure acoustics interfaces. A circular PMUT with radius is excited at different vibrational modes. Computed resonance frequencies are below such that manipulation occurs in the Rayleigh regime (). Results are validated through an analytical which is implemented in MATLAB.
2. COMPUTATIONAL METHODS
3. RESULTS
The (positive acoustic contrast) particle is pushed away from high intensity regions in the Rayleigh regime.
Predicted trapping capabilities within a plane, parallel to the transducer: a ring in the near-field, a point on-axis and 4 points off-axis for mode 0.2, 1.1 and 2.1 respectively.
As the size of the particle becomes large compared to the features in the acoustic field or the wavelength, trapping capabilities may be lost.
Future work may investigate manipulation capabilities in the Mie regime and study the axial force in more detail.
CONCLUSIONS
Figure 2. Radiation forces for the first four vibrational modes of a circular PMUT
at three different planes and for cross-sections of interest. The vector plot
shows in-plane forces with the pressure magnitude in the background.